SMART MUSEUM ARTIFACT CONSERVATION SYSTEM

Operation Identification and Operation Schemas

Task 1 and Task 2 Submission

Student Name:  ______________________________

Student ID:  ______________________________

Course:  ______________________________

Instructor:  ______________________________

Date:  30 September 2026

# 1. Introduction

## 1.1 Purpose

This document analyses the Smart Museum Artifact Conservation System scenario and produces two deliverables: (Task 1) a list of at least twelve operations performed by the system, and (Task 2) a complete operation schema for every identified operation.

## 1.2 System Overview

The conservation chamber protects extremely valuable historical artifacts. Its objective is not general comfort but the maintenance of artifact-specific environmental conditions, and an appropriate reaction when abnormal conditions occur. The system continuously monitors temperature, humidity, light exposure, vibration, chamber door status, artifact condition and power availability.

## 1.3 Approach

The scenario was read sentence by sentence and every action performed by the system was underlined. Each action became one operation, named with a verb phrase. In line with the task requirements, no state name is used as an operation name; states describe what the system is, whereas operations describe what the system does.

## 1.4 Modes (States) Referenced

The following modes appear in the schemas only as data values of the attribute mode, never as operations:

- OFF

- MONITORING

- CONSERVATION_ACTIVE

- PROTECTION_MODE

- VIBRATION_RESPONSE

- SUSPENDED (door open)

- SAFE_SHUTDOWN

# 2. Task 1: Identification of Operations

Twenty-two operations were identified, exceeding the required minimum of twelve. The table shows each operation, its purpose, and the scenario statement from which it was derived.

| # | Operation | Purpose | Source in Scenario |
| --- | --- | --- | --- |
| 1 | performSelfCheck() | Tests all essential sensors and control devices at power-on. | “performs a self-check of its sensors and environmental-control devices” |
| 2 | registerArtifact(id, profile) | Records the artifact’s identification and required environmental limits. | “records the artifact’s identification information and its required environmental limits” |
| 3 | readSensors() | Periodically samples all sensors and updates the current readings. | “continuously monitors temperature, humidity, light exposure, vibration, door status, … power availability” |
| 4 | startConservation() | Activates normal conservation once start conditions are met. | “When the door is closed and the … profile has been loaded, the system enters CONSERVATION_ACTIVE” |
| 5 | compareWithLimits() | Checks whether temperature and humidity lie inside the artifact’s permitted ranges. | “continuously compares the actual temperature and humidity with the limits” |
| 6 | correctTemperature() | Commands the climate-control device to restore temperature. | “attempts to restore the required temperature using its environmental-control mechanism” |
| 7 | correctHumidity() | Commands the humidity-control device to restore humidity. | “attempts to correct the humidity” |
| 8 | verifyRecovery() | Confirms with fresh sensor readings that a condition is back in range. | “must verify through sensor readings that the condition has actually returned to the permitted range” |
| 9 | checkRecoveryTimeout() | Detects failure to recover within the allowed period. | “cannot be corrected within the allowed recovery period” |
| 10 | activateProtection() | Places the chamber into artifact-protecting operation. | “may reduce light exposure and activate additional environmental controls” |
| 11 | raiseOperatorAlert(reason) | Notifies the museum operator of an abnormal condition. | “generates an alert for the museum operator” |
| 12 | detectVibration() | Detects significant vibration while an artifact is present. | “If significant vibration is detected while an artifact is inside …” |
| 13 | suspendRiskyActivities() | Halts operations that could increase risk to the artifact. | “temporarily suspend activities that could increase the risk to the artifact” |
| 14 | verifyVibrationStabilized() | Confirms vibration stayed low for the full stabilization period. | “must first verify that the vibration level has remained below the permitted threshold for the required stabilization period” |
| 15 | suspendConservation() | Immediately stops normal environmental operation when the door opens. | “If the chamber door is opened while conservation is active, the system must immediately suspend normal conservation activities” |
| 16 | verifyResumeConditions() | Checks that it is safe to return to normal operation after a door closure or vibration event. | “must verify the artifact’s environmental conditions and sensor status before returning to normal operation” |
| 17 | resumeConservation() | Returns the chamber to normal conservation operation. | “before returning to normal operation” |
| 18 | switchToEmergencyPower() | Transfers the system to backup power when mains power fails. | “switches to an emergency power source if available” |
| 19 | recordPowerIncident() | Logs a power-loss event. | “records the incident” |
| 20 | performSafeShutdown() | Shuts the chamber down safely when no backup power exists. | “enters a safe shutdown state” |
| 21 | authorizeArtifactRemoval() | Decides whether the operator may remove the artifact. | “may remove the artifact only when the system confirms that the chamber is in a safe condition and no active protection response is underway” |
| 22 | removeArtifact() | Completes the removal and clears the artifact data. | “An operator may remove the artifact …” |

## 2.1 Verification Against the Task Rule

None of the operation names above is a state name. Every name is a verb phrase (perform, register, read, start, compare, correct, verify, check, activate, raise, detect, suspend, resume, switch, record, authorize, remove).

# 3. System Context for the Schemas

## 3.1 External Agents

| Agent | Role |
| --- | --- |
| Operator | Museum staff member who receives alerts and notices, and removes the artifact. |
| ClimateController | Environmental-control device that adjusts temperature and enables auxiliary controls. |
| HumidityController | Device that raises or lowers chamber humidity. |
| LightController | Device that reduces light exposure in protection mode. |
| PowerUnit | Switches between mains and emergency power supply. |
| Actuators / Devices | Chamber motion and control equipment paused or shut down for safety. |

## 3.2 System Attributes

| Attribute | Meaning |
| --- | --- |
| mode | Current operating mode (see Section 1.4). |
| sensorOK, deviceOK | Health of essential sensors and control devices (Boolean). |
| artifact | Record of {id, tempMin, tempMax, humMin, humMax, profileLoaded}. |
| artifactPresent | True while an artifact is inside the chamber. |
| temp, humidity, light, vibration | Latest sensor readings. |
| doorClosed | True when the chamber door is closed. |
| mainPower, emergencyPowerAvailable, powerSource | Power availability and the active source. |
| tempOutOfRange, humOutOfRange | Flags indicating a deviation from permitted limits. |
| recoveryTimer, recoveryPeriod | Elapsed time since a deviation began, and the maximum allowed recovery time. |
| vibThreshold, stableTimer, stabilizationPeriod, stabilityConfirmed | Vibration limit, time spent continuously below it, required stable time, and the confirmation flag. |
| resumeApproved | Set true only when resume conditions are verified. |
| removalAuthorized | Set true only when artifact removal is safe. |
| alerts, incidentLog | Operator alert history and power-incident records. |

# 4. Task 2: Complete Operation Schemas

Each schema uses the following fields: Description, Reads (data inspected), Changes (data or state modified), Sends (messages to external agents or invoked operations), Assumes (preconditions) and Result (postconditions).

| Operation 1: performSelfCheck() |  |
| --- | --- |
| Description | Tests all essential sensors and control devices at power-on. |
| Reads | Sensor and device diagnostic status |
| Changes | sensorOK, deviceOK, mode |
| Sends | Operator: {selfCheckFailed} on failure |
| Assumes | mode = OFF and the chamber has just been powered on |
| Result | If all essential sensors and devices pass: sensorOK = true, deviceOK = true, mode = MONITORING. Otherwise mode remains OFF and the operator is notified. |

| Operation 2: registerArtifact(id, profile) |  |
| --- | --- |
| Description | Records the artifact’s identification and required environmental limits. |
| Reads | mode, sensorOK, artifact data supplied |
| Changes | artifact, artifactPresent |
| Sends | None |
| Assumes | mode = MONITORING and sensorOK = true |
| Result | artifact holds the ID and limits; profileLoaded = true; artifactPresent = true. |

| Operation 3: readSensors() |  |
| --- | --- |
| Description | Periodically samples all sensors and updates the current readings. |
| Reads | All sensor inputs |
| Changes | temp, humidity, light, vibration, doorClosed, mainPower, sensorOK |
| Sends | None |
| Assumes | mode ≠ OFF and mode ≠ SAFE_SHUTDOWN |
| Result | Current readings are updated. A failed sensor sets sensorOK = false. |

| Operation 4: startConservation() |  |
| --- | --- |
| Description | Activates normal conservation once start conditions are met. |
| Reads | doorClosed, artifact.profileLoaded, sensorOK |
| Changes | mode |
| Sends | None |
| Assumes | mode = MONITORING and artifactPresent = true |
| Result | If doorClosed = true and profileLoaded = true, mode = CONSERVATION_ACTIVE. Otherwise the system remains in MONITORING. |

| Operation 5: compareWithLimits() |  |
| --- | --- |
| Description | Checks whether temperature and humidity lie inside the artifact’s permitted ranges. |
| Reads | temp, humidity, artifact limits, mode |
| Changes | tempOutOfRange, humOutOfRange, recoveryTimer (started when a deviation first appears) |
| Sends | Invokes correctTemperature or correctHumidity when a deviation is found |
| Assumes | mode = CONSERVATION_ACTIVE |
| Result | Deviation flags reflect current readings. A recovery timer starts for each new deviation. |

| Operation 6: correctTemperature() |  |
| --- | --- |
| Description | Commands the climate-control device to restore temperature. |
| Reads | temp, artifact.tempMin / tempMax, deviceOK |
| Changes | climateCommand |
| Sends | ClimateController: {adjustTemperature(target)} |
| Assumes | tempOutOfRange = true, deviceOK = true, mode = CONSERVATION_ACTIVE |
| Result | A correction command has been issued. The condition is NOT yet considered resolved. |

| Operation 7: correctHumidity() |  |
| --- | --- |
| Description | Commands the humidity-control device to restore humidity. |
| Reads | humidity, artifact.humMin / humMax, deviceOK |
| Changes | humidityCommand |
| Sends | HumidityController: {adjustHumidity(target)} |
| Assumes | humOutOfRange = true, deviceOK = true, mode = CONSERVATION_ACTIVE |
| Result | A correction command has been issued. The condition is NOT yet considered resolved. |

| Operation 8: verifyRecovery() |  |
| --- | --- |
| Description | Confirms with fresh sensor readings that a condition is back in range. |
| Reads | temp, humidity, artifact limits |
| Changes | tempOutOfRange, humOutOfRange, recoveryTimer |
| Sends | None |
| Assumes | A correction command was issued and a recovery timer is running |
| Result | If the reading is within range, the flag is cleared and the timer stopped. Otherwise the flag stays set and the timer continues. |

| Operation 9: checkRecoveryTimeout() |  |
| --- | --- |
| Description | Detects failure to recover within the allowed period. |
| Reads | recoveryTimer, recoveryPeriod, tempOutOfRange, humOutOfRange |
| Changes | mode |
| Sends | Invokes activateProtection |
| Assumes | At least one deviation flag is set |
| Result | If recoveryTimer > recoveryPeriod and the condition is still out of range, mode = PROTECTION_MODE. |

| Operation 10: activateProtection() |  |
| --- | --- |
| Description | Places the chamber into artifact-protecting operation. |
| Reads | light, deviceOK |
| Changes | mode, light (reduced), auxiliary-controls state |
| Sends | LightController: {reduceLight}; ClimateController: {enableAuxiliaryControls}; invokes raiseOperatorAlert |
| Assumes | A recovery timeout has occurred |
| Result | mode = PROTECTION_MODE; light exposure reduced; additional controls active; operator alert raised. |

| Operation 11: raiseOperatorAlert(reason) |  |
| --- | --- |
| Description | Notifies the museum operator of an abnormal condition. |
| Reads | Alert reason, artifact ID, current readings |
| Changes | alerts |
| Sends | Operator: {alert(reason, artifactId, readings)} |
| Assumes | None |
| Result | A new alert is appended to alerts and delivered to the operator. |

| Operation 12: detectVibration() |  |
| --- | --- |
| Description | Detects significant vibration while an artifact is present. |
| Reads | vibration, vibThreshold, artifactPresent |
| Changes | mode, stableTimer (reset) |
| Sends | Invokes suspendRiskyActivities |
| Assumes | artifactPresent = true |
| Result | If vibration > vibThreshold: mode = VIBRATION_RESPONSE and stableTimer is reset. |

| Operation 13: suspendRiskyActivities() |  |
| --- | --- |
| Description | Halts operations that could increase risk to the artifact. |
| Reads | List of active activities |
| Changes | Active-activity state |
| Sends | Actuators: {pauseNonEssentialMotion, pauseCorrections} |
| Assumes | mode = VIBRATION_RESPONSE |
| Result | All risky activities are suspended. |

| Operation 14: verifyVibrationStabilized() |  |
| --- | --- |
| Description | Confirms vibration stayed low for the full stabilization period. |
| Reads | vibration, vibThreshold, stableTimer, stabilizationPeriod |
| Changes | stableTimer, stabilityConfirmed |
| Sends | Invokes verifyResumeConditions once stability is confirmed |
| Assumes | mode = VIBRATION_RESPONSE |
| Result | While vibration ≤ threshold the timer counts up; if it exceeds the threshold the timer resets. When stableTimer ≥ stabilizationPeriod, stabilityConfirmed = true. |

| Operation 15: suspendConservation() |  |
| --- | --- |
| Description | Immediately stops normal environmental operation when the door opens. |
| Reads | doorClosed, mode |
| Changes | mode, control-device commands |
| Sends | Controllers: {stopNormalOperation}; Operator: {doorOpenNotice} |
| Assumes | mode = CONSERVATION_ACTIVE and doorClosed = false |
| Result | mode = SUSPENDED; no normal environmental control runs while the door is open. |

| Operation 16: verifyResumeConditions() |  |
| --- | --- |
| Description | Checks that it is safe to return to normal operation after a door closure or vibration event. |
| Reads | doorClosed, sensorOK, temp, humidity, artifact limits, vibration, stabilityConfirmed |
| Changes | resumeApproved |
| Sends | Operator: {resumeBlocked(reason)} if verification fails |
| Assumes | mode ∈ {SUSPENDED, VIBRATION_RESPONSE} |
| Result | resumeApproved = true only if the door is closed, all sensors are OK, temperature and humidity are in range, vibration is below threshold (and stabilized, where applicable). Otherwise resumeApproved = false. |

| Operation 17: resumeConservation() |  |
| --- | --- |
| Description | Returns the chamber to normal conservation operation. |
| Reads | resumeApproved |
| Changes | mode |
| Sends | Controllers: {restartNormalOperation} |
| Assumes | resumeApproved = true |
| Result | mode = CONSERVATION_ACTIVE. |

| Operation 18: switchToEmergencyPower() |  |
| --- | --- |
| Description | Transfers the system to backup power when mains power fails. |
| Reads | mainPower, emergencyPowerAvailable |
| Changes | powerSource |
| Sends | PowerUnit: {connectEmergencySupply}; Operator: {powerLossNotice} |
| Assumes | mainPower = false and emergencyPowerAvailable = true |
| Result | powerSource = EMERGENCY and operation continues. |

| Operation 19: recordPowerIncident() |  |
| --- | --- |
| Description | Logs a power-loss event. |
| Reads | Timestamp, power state, artifact ID, current readings |
| Changes | incidentLog |
| Sends | None |
| Assumes | mainPower = false |
| Result | A new incident entry is added to incidentLog. |

| Operation 20: performSafeShutdown() |  |
| --- | --- |
| Description | Shuts the chamber down safely when no backup power exists. |
| Reads | mainPower, emergencyPowerAvailable |
| Changes | mode, device states |
| Sends | Devices: {safeShutdown}; Operator: {shutdownAlert} |
| Assumes | mainPower = false and emergencyPowerAvailable = false |
| Result | The incident is recorded; mode = SAFE_SHUTDOWN; all devices are in a safe state. |

| Operation 21: authorizeArtifactRemoval() |  |
| --- | --- |
| Description | Decides whether the operator may remove the artifact. |
| Reads | mode, alerts, sensorOK, temp, humidity, vibration, doorClosed |
| Changes | removalAuthorized |
| Sends | Operator: {removalGranted} or {removalDenied(reason)} |
| Assumes | artifactPresent = true |
| Result | removalAuthorized = true only if mode ∉ {PROTECTION_MODE, VIBRATION_RESPONSE}, no unresolved alerts exist, and the chamber is in a safe condition. Otherwise false, with a reason given. |

| Operation 22: removeArtifact() |  |
| --- | --- |
| Description | Completes the removal and clears the artifact data. |
| Reads | removalAuthorized |
| Changes | artifact, artifactPresent, mode |
| Sends | None |
| Assumes | removalAuthorized = true |
| Result | artifactPresent = false; artifact record cleared; mode = MONITORING. |

# 5. Key Design Decisions

- Correction is not recovery. correctTemperature and correctHumidity only issue commands; only verifyRecovery, using fresh sensor readings, may clear a deviation.

- Timeout drives protection. checkRecoveryTimeout is the sole trigger for PROTECTION_MODE, together with an operator alert.

- Vibration needs a stabilization period. The system does not resume merely because vibration stopped; verifyVibrationStabilized must confirm the required duration.

- Door closure never auto-resumes. verifyResumeConditions must approve before resumeConservation runs.

- Power loss has two paths. Emergency power if available; otherwise the incident is recorded and a safe shutdown is performed.

- Removal is gated. authorizeArtifactRemoval blocks removal during protection or vibration responses and while alerts remain unresolved.

# 6. Requirement Coverage Summary

| Scenario Requirement | Operations Covering It |
| --- | --- |
| Power-on self-check | performSelfCheck |
| Artifact registration and profile loading | registerArtifact |
| Continuous monitoring | readSensors |
| Door closed and profile loaded starts conservation | startConservation |
| Temperature and humidity comparison and correction | compareWithLimits, correctTemperature, correctHumidity |
| Verified recovery | verifyRecovery |
| Recovery timeout leads to protection and alert | checkRecoveryTimeout, activateProtection, raiseOperatorAlert |
| Vibration response and stabilization | detectVibration, suspendRiskyActivities, verifyVibrationStabilized |
| Door opened suspends conservation; verified resume | suspendConservation, verifyResumeConditions, resumeConservation |
| Power loss handling | switchToEmergencyPower, recordPowerIncident, performSafeShutdown |
| Controlled artifact removal | authorizeArtifactRemoval, removeArtifact |